## Simple Devices
Example #1a
This example simply creates named devices, one by one, with a unique set of properties for each. No tag creation at all.
Device | DeviceType | DevPropKey | DevPropValue
ExchangeA1 | ModbusTcp | description | Producing Machine
|  | hostname | producer1.local
|  | port | 502
|  | zeroBasedAddressing | 1
ExchangeB1 | ModbusTcp | description | Conveyor Between Producer and Consumer
|  | hostname | conveyor1.local
|  | port | 502
|  | zeroBasedAddressing | 1
ExchangeC1 | ModbusTcp | description | Consuming Machine
|  | hostname | consumer1.local
|  | port | 502
|  | zeroBasedAddressing | 1

## Simple OPC Cx
Example #1b
This example simply creates named OPC UA connections, one by one, with a unique set of properties for each. No tag creation at all.
OpcCx | OpcCxLCEval | OpcPropKey | OpcPropValue
ExchangeD1 | OpcCx.lower() | description | First OPC Conx
|  | discoveryUrl | opc.tcp://%(OpcCxLC)s.local:62541/discovery
|  | endpointUrl | opc.tcp://%(OpcCxLC)s.local:62541/
|  | securityPolicy | Basic256Sha256
|  | securityMode | SignAndEncrypt
|  | username | someUser
|  | password | somePassword
ExchangeE1 | OpcCx.lower() | description | Second OPC Conx
|  | discoveryUrl | opc.tcp://%(OpcCxLC)s.local:62541/discovery
|  | endpointUrl | opc.tcp://%(OpcCxLC)s.local:62541/
|  | securityPolicy | Basic256Sha256
|  | securityMode | SignAndEncrypt
|  | username | someUser
|  | password | somePassword

## Device UDTs
Example #2
This example simply creates named devices, one by one, with a unique set of properties for each, and a unique set of UDT instances that go with them. Folders in the UdtInstancePath are implicitly created by the UDT action, because that is what system.tag.configure does. When specifying “Delete Existing” for the UDT Instance Action Mode in the UI, implicitly created folders are NOT deleted.
Device | DeviceType | DevPropKey | DevPropValue | UdtTypePath | UdtInstancePath | UdtParamKey | UdtParamValue
ExchangeA2 | ModbusTcp | description | Producing Machine | Exchange/SpreadsheetImportTool/Producer | Exchange/SpreadsheetImportTool/Ex2/%(Device)s | device | %(Device)s
|  | hostname | producer2.local
|  | port | 502
|  | zeroBasedAddressing | 1
ExchangeB2 | ModbusTcp | description | Conveyor Between Producer and Consumer | Exchange/SpreadsheetImportTool/Conveyor | Exchange/SpreadsheetImportTool/Ex2/%(Device)s | device | %(Device)s
|  | hostname | conveyor2.local
|  | port | 502
|  | zeroBasedAddressing | 1
ExchangeC2 | ModbusTcp | description | Consuming Machine | Exchange/SpreadsheetImportTool/Consumer | Exchange/SpreadsheetImportTool/Ex2/%(Device)s | device | %(Device)s
|  | hostname | consumer2.local
|  | port | 502
|  | zeroBasedAddressing | 1

## Device Multi UDTs
Example #3
This example creates named devices, one by one, each with multiple UDT instances of various kinds. Each device is assumed to be of the same basic type, but with a modular architecture for the quantities of sub-devices installed. Notice that iterator integer values can be reused within a single block. This example “Widget Host” can have up to twenty of Widget A, eight of Widget B, and over 2000 of Widget C “installed”.
Device | DeviceType | DevPropKey | DevPropValue | WidgetIterator | UdtTypePath | UdtInstancePath | RegistersEval | CoilsEval | UdtParamKey | UdtParamValue
ExchangeA3 | ModbusTcp | description | Widget Host A | 0-5 | Exchange/SpreadsheetImportTool/WidgetA | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/A%(Widget)d | 100+20*Widget | 16+16*Widget | device | %(Device)s
|  | hostname | widget1.local | 0-2 | Exchange/SpreadsheetImportTool/WidgetB | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/B%(Widget)d | 500+50*Widget | 336+16*Widget | registersAt | %(Registers)d
|  | port | 502 | 0-4 | Exchange/SpreadsheetImportTool/WidgetC | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/C%(Widget)d | 900+30*Widget | 464+16*Widget | coilsAt | %(Coils)d
|  | zeroBasedAddressing | 1
ExchangeB3 | ModbusTcp | description | Widget Host B | 1,4-6 | Exchange/SpreadsheetImportTool/WidgetA | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/A%(Widget)d | 100+20*Widget | 16+16*Widget | device | %(Device)s
|  | hostname | widget2.local | 2, 4, 6 | Exchange/SpreadsheetImportTool/WidgetB | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/B%(Widget)d | 500+50*Widget | 336+16*Widget | registersAt | %(Registers)d
|  | port | 502 | [5 empty] | coilsAt | %(Coils)d
|  | zeroBasedAddressing | 1
ExchangeC3 | ModbusTcp | description | Widget Host C | 3 | Exchange/SpreadsheetImportTool/WidgetA | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/A%(Widget)d | 100+20*Widget | 16+16*Widget | device | %(Device)s
|  | hostname | widget3.local | 4 | Exchange/SpreadsheetImportTool/WidgetC | Exchange/SpreadsheetImportTool/Ex3/%(Device)s/C%(Widget)d | 900+30*Widget | 464+16*Widget | registersAt | %(Registers)d
|  | port | 502 | [5 empty] | coilsAt | %(Coils)d
|  | zeroBasedAddressing | 1

## Multi Devices Multi UDTs
Example #4
This example creates many dynamically named devices, each with multiple UDT instances of various kinds. Each device is assumed to be of the same basic type, but with a modular architecture for the quantities of sub-devices installed. Two separate iterators are used here, one for devices, and one for widgets, with the latter running through for each device. Note that iterator values can include substitutions from prior columns.
DevIterator | DevPrefix | Device | DeviceType | DevPropKey | DevPropValue | WidgetsA | WidgetsB | WidgetsC | WidgetIterator | UdtTypePath | UdtInstancePath | RegistersEval | CoilsEval | UdtParamKey | UdtParamValue
1-2 | ExchangeMultiR | %(DevPrefix)s%(Dev)d | ModbusTcp | description | Widget Host %(Device)s | 2 | 1 | 8 | 1-%(WidgetsA)d | Exchange/SpreadsheetImportTool/WidgetA | Exchange/SpreadsheetImportTool/Ex4/%(Device)s/A%(Widget)d | 100+20*Widget | 16+16*Widget | device | %(Device)s
1 | ExchangeMultiS |  |  | hostname | widget1.local | 1 | 3 | 10 | 1-%(WidgetsB)d | Exchange/SpreadsheetImportTool/WidgetB | Exchange/SpreadsheetImportTool/Ex4/%(Device)s/B%(Widget)d | 500+50*Widget | 336+16*Widget | registersAt | %(Registers)d
2-3 | ExchangeMultiT |  |  | port | 502 | 3 | 5 | 12 | 1-%(WidgetsC)d | Exchange/SpreadsheetImportTool/WidgetC | Exchange/SpreadsheetImportTool/Ex4/%(Device)s/C%(Widget)d | 900+30*Widget | 464+16*Widget | coilsAt | %(Coils)d
|  |  |  | zeroBasedAddressing | 1

## Simple Tags
Example #5
This example demonstrates manual creation of tags. Technically, this can be used to instantiate UDTs, but cannot set UDT parameters. The default tag type is Atomic Tag, but others can be specified. You are responsible for providing any non-optional properties other tag types require. Folders in the TagInstancePath are implicitly created by the tag action, because that is what system.tag.configure does. When specifying “Delete Existing” for the Atomic Tag Action Mode in the UI, implicitly created folders are NOT deleted. Note that tagType and/or dataType values must be exact matches, case-sensitive, for the enum names defined here: https://files.inductiveautomation.com/sdk/javadoc/ignition81/8.1.38/com/inductiveautomation/ignition/common/sqltags/model/types/TagType.html https://files.inductiveautomation.com/sdk/javadoc/ignition81/8.1.38/com/inductiveautomation/ignition/common/sqltags/model/types/DataType.html Be aware that curly quotes, usually automatically injected by Excel when typing, will break JSON encodings expected for document types.
TagInstancePath | TagPropKey | TagPropValue
Exchange/SpreadsheetImportTool/Ex5/SomeInt | dataType | Int4
| value | 5
Exchange/SpreadsheetImportTool/Ex5/SomeFloat | dataType | Float8
| value | 8.25
Exchange/SpreadsheetImportTool/Ex5/SomeDoc | value | { 'a': 'BBB', 'c': 6.75, 'tp': "%(TagInstancePath)s" }
Exchange/SpreadsheetImportTool/Ex5/SomeFolder | tagType | Folder
| someCustomProp | A Custom Value | Custom Properties can be set on folders, but are not currently shown anywhere in Ignition's designer UIs. Use the designer Tag Browser's "Copy JSON" to see such values. Use ordinary readBlocking() and writeBlocking() on the folder to manipulate from scripts.

## Multi Devices Complex UDTs
Example #6
This example creates multiple named devices in a single block, with arbitrary names. The naming is driven by a dummy iterator whose integer value is ignored. The device is presumed to be a widget host that works like the other examples, but only has two of each widget. (Determined by the UDT definition.)
DummyIterator | Device | DeviceLCEval | DeviceType | DevPropKey | DevPropValue | UdtTypePath | UdtInstancePath | UdtParamKey | UdtParamValue | UdtPropKey | UdtPropValue | UdtMemberKey | UdtMemberValue
1 | ExchangeFixed1 | Device.lower() | ModbusTcp | description | Widget Fixed Host %(Device)s | Exchange/SpreadsheetImportTool/FixedWidgets | Exchange/SpreadsheetImportTool/Ex6/%(Device)s | fixedDevice | %(Device)s | someCustomProp | Configured to: %(Device)s | A/Summary | { "modelInfo": "Two Instances of WidgetA", "device": "%(Device)s" }
2 | ExchangeFixed4 |  |  | hostname | %(DeviceLC)s.local | [6 empty] | B/Summary | { "modelInfo": "Fixed Instances", "device": "%(Device)s", "somethingElse": "Placeholder?" }
3 | ExchangeFixed7 |  |  | port | 502 | [6 empty] | C/Summary | { "modelInfo": "Two of Widget C", "device": "%(Device)s", "anotherKey": "Whatever" }
|  |  |  | zeroBasedAddressing | 1